## DR-2010
Calibration Curve: Reactive Phosphorous (Ortho-P) by Ascobic Acid Reduction (SOPs AMBL-208E & 208B) + Reducing Solution
DR | 2010 | Calibration Date: | 2018-06-08
|  | Calibrated by: | Terry Baxter
Spencer Harvey
| Concentration | l = 890 nm
| (P mg/L) | Abs
Blank | 0 | 0.024
| 0.0065 | 0.043
| 0.01 | 0.033
| 0.05 | 0.093
| 0.1 | 0.16
| 0.25 | 0.374
| 0.5 | 0.722
| 0.8 | 1.106
| 1 | 1.363
| Slope = | 1.3456
| Intercept = | 0.029192
| R-squared = | 0.99962
Sample Concentration Calculator
| Enter Abs Reading | PO43- P
|  | -0.021695 | mg/L
| Enter Dilution | Corrected PO43- P
| 1 | -0.021695 | mg/L | Calibration Line Construction
|  |  |  | X | Y
|  |  |  | 0 | 0.029192
|  |  |  | 1 | 1.3748

## DR-3900
Calibration Curve: Reactive Phosphorous (Ortho-P) by Ascobic Acid Reduction (SOPs AMBL-208E & 208B) + Reducing Solution
DR | 3900 | Calibration Date: | 2018-06-08
|  | Calibrated by: | Terry Baxter
Spencer Harvey
| Concentration | l = 880 nm
| (P mg/L) | Abs
Blank
| 0.0065 | 0.045
| 0.01 | 0.028
| 0.05 | 0.097
| 0.1 | 0.165
| 0.25 | 0.393
| 0.5 | 0.759
| 0.8 | 1.184
| 1 | 1.487
| Slope = | 1.4596
| Intercept = | 0.024119
| R-squared = | 0.99983
Sample Concentration Calculator
| Enter Abs Reading | PO43- P
| 1.479 | 0.99676 | mg/L
| Enter Dilution | Corrected PO43- P
| 1 | 0.99676 | mg/L | Calibration Line Construction
|  |  |  | X | Y
|  |  |  | 0 | 0.024119
|  |  |  | 1 | 1.4837