## DR-2010
Calibration Curve: Reactive Phosphorous (Ortho-P) by Ascobic Acid Reduction (SOPs AMBL-208E & 208B) + Reducing Solution
DR | 2010 | Calibration Date: | 2018-08-29
|  | Calibrated by: | Terry Baxter
| Concentration | l = 890 nm
| (P mg/L) | Abs
Blank | 0 | 0.106
| 0.0065 | 0.065
| 0.01 | 0.085
| 0.05 | 0.13
| 0.1 | 0.114
| 0.25 | 0.412
| 0.5 | 0.808
| 0.8 | 1.22
| 1 | 1.489
| Slope = | 1.4446
| Intercept = | 0.056088
| R-squared = | 0.99529
Sample Concentration Calculator
| Enter Abs Reading | PO43- P
|  | -0.038827 | mg/L
| Enter Dilution | Corrected PO43- P
| 1 | -0.038827 | mg/L | Calibration Line Construction
|  |  |  | X | Y
|  |  |  | 0 | 0.056088
|  |  |  | 1 | 1.5007

## DR-3900
Calibration Curve: Reactive Phosphorous (Ortho-P) by Ascobic Acid Reduction (SOPs AMBL-208E & 208B) + Reducing Solution
DR | 3900 | Calibration Date: | 2018-08-29
|  | Calibrated by: | Terry Baxter
| Concentration | l = 880 nm
| (P mg/L) | Abs
Blank | 0 | 0.107
| 0.0065 | 0.07
| 0.01 | 0.088
| 0.05 | 0.142
| 0.1 | 0.12
| 0.25 | 0.437
| 0.5 | 0.846
| 0.8 | 1.31
| 1 | 1.619
| Slope = | 1.5624
| Intercept = | 0.054967
| R-squared = | 0.99586
Sample Concentration Calculator
| Enter Abs Reading | PO43- P
| 1 | 0.60485 | mg/L
| Enter Dilution | Corrected PO43- P
| 1 | 0.60485 | mg/L | Calibration Line Construction
|  |  |  | X | Y
|  |  |  | 0 | 0.054967
|  |  |  | 1 | 1.6174